MSF - National Time Scale

National Physical Laboratory

Hampton Road

Teddington

TW11 0LW

# MSF Monitoring Bulletin

1 May 2026 – 31 May 2026

MJD 61161 - MJD 61191

The plot and table below show measurements of the 60 kHz carrier phase delay of the MSF signal relative to UTC(NPL) with an arbitrary fixed time offset (modulo 16.67 ms). The data has been averaged for 10 minutes at midday (11:55 – 12:05 UTC) each day.

Statistics

| Mean Value | -6.8 µs |
| --- | --- |
| Standard Deviation | 1.1 µs |

Tabulated Values

| Day | MJD | Phase delay / µs |
| --- | --- | --- |
| 2026-05-01 | 61161.5 | -7.3 |
| 2026-05-02 | 61162.5 | -7.2 |
| 2026-05-03 | 61163.5 | -6.9 |
| 2026-05-04 | 61164.5 | NaN |
| 2026-05-05 | 61165.5 | NaN |
| 2026-05-06 | 61166.5 | -5.8 |
| 2026-05-07 | 61167.5 | -6.7 |
| 2026-05-08 | 61168.5 | -6.0 |
| 2026-05-09 | 61169.5 | -7.1 |
| 2026-05-10 | 61170.5 | -5.7 |
| 2026-05-11 | 61171.5 | -5.2 |
| 2026-05-12 | 61172.5 | -6.0 |
| 2026-05-13 | 61173.5 | -5.8 |
| 2026-05-14 | 61174.5 | -5.5 |
| 2026-05-15 | 61175.5 | -5.5 |
| 2026-05-16 | 61176.5 | -5.4 |
| 2026-05-17 | 61177.5 | -6.0 |
| 2026-05-18 | 61178.5 | -5.6 |
| 2026-05-19 | 61179.5 | -6.2 |
| 2026-05-20 | 61180.5 | -6.0 |
| 2026-05-21 | 61181.5 | -7.3 |
| 2026-05-22 | 61182.5 | -8.0 |
| 2026-05-23 | 61183.5 | -8.1 |
| 2026-05-24 | 61184.5 | -8.6 |
| 2026-05-25 | 61185.5 | -8.4 |
| 2026-05-26 | 61186.5 | -8.8 |
| 2026-05-27 | 61187.5 | -7.8 |
| 2026-05-28 | 61188.5 | -8.1 |
| 2026-05-29 | 61189.5 | -7.4 |
| 2026-05-30 | 61190.5 | -8.0 |
| 2026-05-31 | 61191.5 | -6.7 |

NaN indicates measurement is unavailable.

To find out more about the MSF Radio Time Signal:

npl.co.uk/products-services/time-frequency/msf-radio-time-signal

To get in touch:

npl.co.uk/contact

020 8977 3222